## Sheet1
Group | Performance Influencing Factor (PIF) | PIF Status | Explanation
Overarching PIFs | Workload | Normal | All crew members have peer check and backup.
|  | Concurrent Demand | One crew member has own task with no backup; all others have normal peer check and backup
|  | Multiple Concurrent Demands | Overloaded, no peer check. Everyone has their own task with no backup.
| Time Criticality | Expansive Time Available
Normal Time Available
|  | Barely Adequate Time Available | e.g., high tempo, time pressured tasks
| Miscellaneous | Non-Standard | Anomalous conditions forcing the operator to account for previous discoveries/incidents/failures.
|  | Noisy Background | Loud background noise makes communication challenging.
|  | Coordination | Requires close coordination with on-site personnel.
|  | Communicator Unavailable | Designated communicator is needed but is not available.
|  | Multiple Demands | Multiple competing demands on attention/distractions.
|  | Memory | Demand on memory.
Alarm-Specific PIFs | Detection Mode | Revealing | The detection is based on one or more self-revealing cues.
|  | Procedure Directed Check | Procedure directs operators to check the alarm
|  | Procedure Directed Monitoring | The alarm is in the procedure specified monitoring list
|  | Aware/Inspection | Driven by information obtained earlier
| Status of Alarm Board | Dark | Individual alarm or a group of alarms point to the system problem.
|  | Busy | The alarm boards show some (but not many) other alarms in addition to the critical alarm.
|  | Overloaded | The alarm boards show many other alarms in addition to the critical alarm.
| Expectation of Alarm/Indication Change | Expected | Given their understanding of current plant status (including systems out for maintenance or testing), the alarm or indication change is expected.
|  | Not Expected | Operators do not anticipate this alarm or change in indications.
Not Applicable
Indicator-Specific PIFs | Detecting Mode | Procedure Directed Check | Procedure directs crew to check a specific indicator or parameter.
Procedure Directed Monitoring
|  | Knowledge Driven Monitoring | Knowledge of the situation or expectation of change in the parameter prompts crew to monitor.
|  | Awareness/Inspection | Non-procedurally directed monitoring or awareness of plant parameters.
| Degree of change | Slight Change | i.e., requires some effort to detect the change.
|  | Distinct Change | i.e., prominent and readily detected if looked at.
| Miscellaneous | No Mimics | Requires operator to rely on memory.
|  | Small Indications | Can be read only from a close distance.
|  | Similar Displays | Multiple identical displays in the same bank of control panel.
Understanding-Specific PIFs |  | Skill | The non-complex tasks performed by memory reliably without the need of using procedures.
| Diagnosis Basis | Procedure | Procedures are used to complete the task reliably.
|  | Knowledge Based | Performing the task is not straightforward and procedure is not available or applicable to the situations.
|  | Standard | Crew has previously trained on this challenge.
| Familiarity | Novel | This involves a change to the way the challenge is addressed, such as a new procedure, scenario, or role.
|  | Anomaly | Standard training must be adapted to fit an anomalous situation (e.g., the procedures do not cover the circumstances.)
|  | Procedure | The diagnosis results in performing a procedure step or transitioning within or external to the procedure currently being performed.
| Outcome | Skill | Diagnosis results in the performance of a skill-based activity.
|  | Knowledge Based | Diagnosis results in the performance of a knowledge-based activity.
|  | Timing of Information | Includes slow information feed or delayed information.
| Information Integration | Ambiguous Information | Information provided by system is vague, unclear, or does not point to the nature of the problem.
|  | Integration Required | Integration of multiple pieces of information is required for diagnosis.
|  | Specific | Alarm/alarm pattern/indication(s) point to the specific system problem.
| Information Specificity | Not Specific | The alarm(s) and/or indication(s) do not directly point to the specific system problem, which requires operator cognitive effort to integrate the information and identify the specific system problem.
Not Applicable
|  | Missing Information | Part of the needed information is missing. This includes masked information.
| Information Quality | Misleading Information | Information points to an incorrect diagnosis
|  | Conflicting Information | Information points to more than one possible diagnoses, or conflicts with other alarms or indications.
Decision-Specific PIFs | Decision Basis | Procedure | The decision is driven by procedures or other guidance
|  | Skill: Skill-driven decision | without procedure, operator can make decision from memory.
|  | Knowledge | No procedure applicable; crew relies on engineering or technical knowledge and operating experience.
| Familiarity | Standard | Crew has previously trained on this challenge.
|  | Novel | This involves a change to the way the challenge is addressed, such as a new procedure, scenario, or role.
|  | Anomaly | Standard training must be adapted to fit an anomalous situation (e.g., the procedures do not cover the circumstances.)
| Uncertainty | Clear | No uncertainty or competing goals – clear decision criteria.
|  | Uncertain | Lack of information or ambiguous decision criteria.
|  | Competing Priorities | Multiple competing goals, foreseeable severe consequences.
|  | Conflicting Guidance | Policies, practices and procedure have conflicting guidance.
Action-Specific PIFs | Type of Action | Simple and Distinct
|  | Order | A sequence of discrete actions needs to be taken in a certain order.
|  | Monitoring | Dynamic control actions that require constant monitoring and manipulation to control and maintain a parameter within a certain boundary.
| Location | Main or Auxiliary Control Board
Back Panel
| Guidance | Procedure | Action is guided by procedures.
|  | Skill of craft (Non-Faulted hardware) | In situations without faulted indications or hardware, the action is guided by skill-of-the-craft, not a written procedure.
|  | STAR (Faulted Hardware) | In scenarios with faulted indications or hardware, the operator is expected to Stop-Think-Act-Review.
| Recoverability | Immediately Recoverable | The action can be immediately recovered by reversing the action.
|  | Recoverable with Significant Efforts: | Require changing the status of other systems or components to recover.
Unrecoverable
| Miscellaneous | Unintuitive Plant Response | Plant behavior contradicts intuition.
|  | Unintuitive Controls | The control requires counter-intuitive action.
|  | Additional Mental Effort | Performing the action requires performing activities such as unit translation or mental calculation.
|  | Inadequate Feedback | System/control state feedback is missing or slow.
|  | Similar Controls | Similar controls in the same bank of control panel.