## query (1)
Year of Update | Plant Name, Unit Number | NRC Reactor Unit Web Page | Docket Number | License Number | Location | NRC Region | Parent Company Utility Name | Licensee | Parent Company Website | Parent Company Notes | Reactor and Containment Type | Nuclear Steam System Supplier and Design Type | Architect-Engineer | Constructor Name | Construction Permit Issued | Operating License Issued | Commercial Operation | Renewed Operating License Issued | Operating License Expires | Subsequent Renewed Operating License Issued | Licensed MWt | Capacity MWe | Current Reactor Age | License Length | Time Remaining | % License Remaining | Year Operating License Issued | 2021 Capacity Factor (Percent) | 2022 Capacity Factor (Percent) | 2020 Capacity Factor (Percent) | 2019 Capacity Factor (Percent) | 2018 Capacity Factor (Percent) | 2017 Capacity Factor (Percent) | 2016 Capacity Factor (Percent) | 2015 Capacity Factor (Percent) | 2014 Capacity Factor (Percent) | 2013 Capacity Factor (Percent) | 2012 Capacity Factor (Percent) | 2011 Capacity Factor (Percent) | 2010 Capacity Factor (Percent) | 2009 Capacity Factor (Percent) | 2008 Capacity Factor (Percent) | 2005 Capacity Factor (Percent) | 2004 Capacity Factor (Percent) | 2003 Capacity Factor (Percent) | Column1 | Column2 | Column3 | Column4 | Column5
2022 | Arkansas Nuclear One, Unit 1 | ANO 1 | 05000313 | DPR-51 | London, AR (6 MI WNW of Russellville, AR) | 4 | Entergy Nuclear Operations, Inc. | Entergy Operations, Inc. | www.entergy-nuclear.com |  | PWR-DRYAMB | B&W LLP | BECH | BECH | 1968-12-06 | 1974-05-21 | 1974-12-19 | 06/20/2001 | 2034-05-20 |  | 2568 | 833 | 48 | 60 | 11.3918 | 18.99% | 1974 |  |  | 102% | 87% | 76% | 87% | 72% | 82% | 98% | 56% | 102% | 87% | 90% | 99% | 83% | 78% | 92% | 92%
2022 | Arkansas Nuclear One, Unit 2 | ANO 2 | 05000368 | NPF-6 | London, AR (6 MI WNW of Russellville, AR) | 4 | Entergy Nuclear Operations, Inc. | Entergy Operations, Inc. | www.entergy-nuclear.com |  | PWR-DRYAMB | CE | BECH | BECH | 1972-12-06 | 1978-09-01 | 1980-03-26 | 06/30/2005 | 2038-07-17 |  | 3026 | 985 | 44 | 60 | 15.5534 | 25.92% | 1978 |  |  | 88% | 82% | 82% | 70% | 94% | 89% | 85% | 91% | 93% | 90% | 97% | 90% | 91% | 91% | 99% | 90%
2022 | Beaver Valley Power Station, Unit 1 | Beaver Valley 1 | 05000334 | DPR-66 | Shippingport, PA(17 MI W of McCandless, PA) | 1 | Energy Harbor Corp. | Energy Harbor Nuclear Generation LLC and Energy Harbor Nuclear Corp. | www.energyharbor.com |  | PWR-DRYAMB | WEST 3LP | S&W | S&W | 1970-06-26 | 1976-07-02 | 1976-10-01 | 11/05/2009 | 2036-01-29 |  | 2900 | 907 | 46 | 60 | 13.0877 | 21.81% | 1976 |  |  | 101% | 91% | 92% | 99% | 91% | 90% | 86% | 86% | 92% | 101% | 91% | 92% | 101% | 101% | 93% | 83%
2022 | Beaver Valley Power Station, Unit 2 | Beaver Valley 2 | 05000412 | NPF-73 | Shippingport, PA (17 MI W of McCandless, PA) | 1 | Energy Harbor Corp. | Energy Harbor Nuclear Generation LLC and Energy Harbor Nuclear Corp. | www.energyharbor.com |  | PWR-DRYAMB | WEST 3LP | S&W | S&W | 1974-05-03 | 1987-08-14 | 1987-11-17 | 11/05/2009 | 2047-05-27 |  | 2900 | 901 | 35 | 60 | 24.4192 | 40.7% | 1987 |  |  | 93% | 100% | 90% | 90% | 97% | 90% | 98% | 97% | 91% | 102% | 84% | 87% | 103% | 93% | 100% | 91%
2022 | Braidwood Station, Unit 1 | Braidwood 1 | 05000456 | NPF-72 | Braceville, IL (20 MI SSW of Joliet, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | PWR-DRYAMB | WEST 4LP | S&L | CWE | 1975-12-31 | 1987-07-02 | 1988-07-29 | 01/27/2016 | 2046-10-17 |  | 3645 | 1183 | 35 | 60 | 23.811 | 39.68% | 1987 |  |  | 102% | 94% | 93% | 98% | 90% | 93% | 103% | 95% | 91% | 101% | 89% | 95% | 101% | 100% | 95% | 97%
2022 | Braidwood Station, Unit 2 | Braidwood 2 | 05000457 | NPF-77 | Braceville, IL (20 MI SSW of Joliet, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | PWR-DRYAMB | WEST 4LP | S&L | CWE | 1975-12-31 | 1988-05-20 | 1988-10-17 | 01/27/2016 | 2047-12-18 |  | 3645 | 1154 | 34 | 60 | 24.9808 | 41.63% | 1988 |  |  | 96% | 100% | 92% | 88% | 95% | 91% | 96% | 98% | 93% | 93% | 99% | 93% | 92% | 94% | 101% | 96%
2022 | Browns Ferry Nuclear Plant, Unit 1 | Browns Ferry 1 | 05000259 | DPR-33 | Limestone County, AL (10 miles south of Athens, AL and 32 MI W of Huntsville, AL) | 2 | Tennessee Valley Authority | Tennessee Valley Authority | www.tva.gov |  | BWR-MARK 1 | GE 4 | TVA | TVA | 1967-05-10 | 1973-12-20 | 1974-08-01 | 05/04/2006 | 2033-12-20 |  | 3952 | 1256 | 49 | 60 | 10.9781 | 18.3% | 1973 |  |  | 83% | 99% | 82% | 97% | 83% | 94% | 90% | 94% | 88% | 91% | 86% | 94% | 88%
2022 | Browns Ferry Nuclear Plant, Unit 2 | Browns Ferry 2 | 05000260 | DPR-52 | Limestone County, AL (10 miles south of Athens, AL and 32 MI W of Huntsville, AL) | 2 | Tennessee Valley Authority | Tennessee Valley Authority | www.tva.gov |  | BWR-MARK 1 | GE 4 | TVA | TVA | 1967-05-10 | 1974-06-28 | 1975-03-01 | 05/04/2006 | 2034-06-28 |  | 3952 | 1259 | 48 | 60 | 11.4986 | 19.16% | 1974 |  |  | 91% | 80% | 97% | 83% | 94% | 85% | 98% | 79% | 99% | 80% | 91% | 94% | 98% | 90% | 100% | 86%
2022 | Browns Ferry Nuclear Plant, Unit 3 | Browns Ferry 3 | 05000296 | DPR-68 | Limestone County, AL (10 miles south of Athens, AL and 32 MI W of Huntsville, AL) | 2 | Tennessee Valley Authority | Tennessee Valley Authority | www.tva.gov |  | BWR-MARK 1 | GE 4 | TVA | TVA | 1968-07-31 | 1976-07-02 | 1977-03-01 | 05/04/2006 | 2036-07-02 |  | 3952 | 1260 | 46 | 60 | 13.5123 | 22.52% | 1976 |  |  | 86% | 94% | 76% | 93% | 80% | 92% | 88% | 89% | 83% | 87% | 81% | 95% | 81% | 94% | 89% | 96%
2022 | Brunswick Steam Electric Plant, Unit 1 | Brunswick 1 | 05000325 | DPR-71 | Southport, NC (20 MI S of Wilmington, NC) | 2 | Duke Energy | Duke Energy Progress, LLC | www.duke-energy.com |  | BWR-MARK 1 | GE 4 | UE&C | BRRT | 1970-02-07 | 1976-09-08 | 1977-03-18 | 06/26/2006 | 2036-09-08 |  | 2923 | 938 | 46 | 60 | 13.6986 | 22.83% | 1976 |  |  | 84% | 92% | 85% | 93% | 83% | 93% | 89% | 92% | 77% | 100% | 83% | 98% | 85% | 94% | 86% | 101%
2022 | Brunswick Steam Electric Plant, Unit 2 | Brunswick 2 | 05000324 | DPR-62 | Southport, NC (20 MI S of Wilmington, NC) | 2 | Duke Energy | Duke Energy Progress, LLC | www.duke-energy.com |  | BWR-MARK 1 | GE 4 | UE&C | BRRT | 1970-02-07 | 1974-12-27 | 1975-11-03 | 06/26/2006 | 2034-12-27 |  | 2923 | 932 | 48 | 60 | 11.9973 | 20% | 1974 |  |  | 99% | 85% | 93% | 82% | 92% | 81% | 98% | 73% | 98% | 79% | 99% | 80% | 95% | 86% | 98% | 99%
2022 | Byron Station, Unit 1 | Byron 1 | 05000454 | NPF-37 | Byron, Il (17 MI SW of Rockford, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | PWR-DRYAMB | WEST 4LP | S&L | CWE | 1975-12-31 | 1985-02-14 | 1985-09-16 | 11/19/2015 | 2044-10-31 |  | 3645 | 1164 | 37 | 60 | 21.8493 | 36.42% | 1985 |  |  | 96% | 100% | 94% | 89% | 97% | 88% | 97% | 96% | 88% | 88% | 101% | 94% | 95% | 94% | 102% | 94%
2022 | Byron Station, Unit 2 | Byron 2 | 05000455 | NPF-66 | Byron, Il (17 MI SW of Rockford, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | PWR-DRYAMB | WEST 4LP | S&L | CWE | 1975-12-31 | 1987-01-30 | 1987-08-02 | 11/19/2015 | 2046-11-06 |  | 3645 | 1136 | 35 | 60 | 23.8658 | 39.78% | 1987 |  |  | 97% | 95% | 100% | 89% | 86% | 94% | 94% | 86% | 94% | 93% | 96% | 102% | 96% | 96% | 96% | 101%
2022 | Callaway Plant | Callaway | 05000483 | NPF-30 | Fulton, MO (25 MI ENE of Jefferson City, MO) | 4 | AmerenUE | Union Electric Co. | www.ameren.com | Strategic Teaming and Resource Sharing (STARS) group. They share resources for refueling outages and develop some shared licensing applications. | PWR-DRYAMB | WEST 4LP | BECH | DANI | 1976-04-16 | 1984-10-18 | 1984-12-19 | 03/06/2015 | 2044-10-18 |  | 3565 | 1190 | 38 | 60 | 21.8137 | 36.36% | 1984 |  |  | 74% | 86% | 100% | 77% | 87% | 96% | 89% | 77% | 103% | 90% | 86% | 98% | 90% | 77% | 78% | 97%
2022 | Calvert Cliffs Nuclear Power Plant, Unit 1 | Calvert Cliffs 1 | 05000317 | DPR-53 | Lusby, MD (40 MI S of Annapolis, MD) | 1 | Constellation Energy Corporation | Calvert Cliffs Nuclear Power Plant, LLC – Owner<br> Constellation Energy Generation, LLC – Operator | www.constellationenergy.com |  | PWR-DRYAMB | CE | BECH | BECH | 1969-07-07 | 1974-07-31 | 1975-05-08 | 03/23/2000 | 2034-07-31 |  | 2737 | 866 | 48 | 60 | 11.589 | 19.32% | 1974 |  |  | 97% | 100% | 92% | 97% | 89% | 97% | 91% | 97% | 81% | 101% | 90% | 98% | 93% | 100% | 92% | 102%
2022 | Calvert Cliffs Nuclear Power Plant, Unit 2 | Calvert Cliffs 2 | 05000318 | DPR-69 | Lusby, MD (40 MI S of Annapolis, MD) | 1 | Constellation Energy Corporation | Calvert Cliffs Nuclear Power Plant, LLC – Owner<br> Constellation Energy Generation, LLC – Operator | www.constellationenergy.com |  | PWR-DRYAMB | CE | BECH | BECH | 1969-07-07 | 1976-08-13 | 1977-04-01 | 03/23/2000 | 2036-08-13 |  | 2737 | 842 | 46 | 60 | 13.6274 | 22.71% | 1976 |  |  | 104% | 92% | 100% | 91% | 95% | 86% | 100% | 81% | 101% | 92% | 97% | 93% | 99% | 94% | 100% | 82%
2022 | Catawba Nuclear Station, Unit 1 | Catawba 1 | 05000413 | NPF-35 | York, SC (18 MI S of Charlotte, NC) | 2 | Duke Energy | Duke Energy Carolinas, LLC | www.duke-energy.com |  | PWR-ICECND | WEST 4LP | DUKE | DUKE | 1975-08-07 | 1985-01-17 | 1985-06-29 | 12/05/2003 | 2043-12-05 |  | 3469 | 1160 | 37 | 60 | 20.9425 | 34.9% | 1985 |  |  | 91% | 100% | 93% | 90% | 97% | 88% | 86% | 96% | 89% | 89% | 100% | 91% | 89% | 93% | 98% | 83%
2022 | Catawba Nuclear Station, Unit 2 | Catawba 2 | 05000414 | NPF-52 | York, SC (18 MI S of Charlotte, NC) | 2 | Duke Energy | Duke Energy Carolinas, LLC | www.duke-energy.com |  | PWR-ICECND | WEST 4LP | DUKE | DUKE | 1975-08-07 | 1986-05-15 | 1986-08-19 | 12/05/2003 | 2043-12-05 |  | 3411 | 1150 | 36 | 60 | 20.9425 | 34.9% | 1986 |  |  | 100% | 92% | 91% | 96% | 88% | 86% | 100% | 86% | 92% | 101% | 92% | 90% | 103% | 102% | 89% | 94%
2022 | Clinton Power Station, Unit 1 | Clinton | 05000461 | NPF-62 | Clinton, IL (23 MI SSE of Bloomington, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 3 | GE 6 | S&L | BALD | 1976-02-24 | 1987-04-17 | 1987-11-24 | N/A | 2026-09-29 |  | 3473 | 1065 | 35 | 40 | 3.7479 | 9.37% | 1987 |  |  | 101% | 87% | 88% | 84% | 89% | 87% | 97% | 82% | 100% | 93% | 92% | 97% | 99% | 94% | 88% | 97%
2022 | Columbia Generating Station | Columbia Generating Station | 05000397 | NPF-21 | Richland, WA (20 MI NNE of Pasco, WA) | 4 | Energy Northwest | Energy Northwest | www.energy-northwest.com |  | BWR-MARK 2 | GE 5 | B&R | BECH | 1973-03-19 | 1984-04-13 | 1984-12-13 | 05/22/2012 | 2043-12-20 |  | 3544 | 1163 | 38 | 60 | 20.9836 | 34.97% | 1984 |  |  | 92% | 88% | 96% | 77% | 92% | 78% | 98% | 80% | 97% | 50% | 95% | 67% | 93% | 83% | 91% | 79%
2022 | Comanche Peak Nuclear Power Plant, Unit 1 | Comanche Peak 1 | 05000445 | NPF-87 | Glen Rose, TX (40 MI SW of Fort Worth, TX) | 4 | Vistra Energy Corp. | Comanche Peak Power Company LLC – Owner<br>Vistra Operations Company LLC – Operator | www.vistraenergy.com/ | Member of the Utilities Services Alliance | PWR-DRYAMB | WEST 4LP | G&H | BRRT | 1974-12-19 | 1990-04-17 | 1990-08-13 | N/A | 2030-02-08 |  | 3612 | 1205 | 32 | 40 | 7.1123 | 17.78% | 1990 |  |  | 92% | 89% | 100% | 91% | 92% | 100% | 85% | 94% | 98% | 91% | 91% | 100% | 96% | 92% | 90% | 101%
2022 | Comanche Peak Nuclear Power Plant, Unit 2 | Comanche Peak 2 | 05000446 | NPF-89 | Glen Rose, TX (40 MI SW of Fort Worth, TX) | 4 | Vistra Energy Corp. | Comanche Peak Power Company LLC – Owner<br>Vistra Operations Company LLC – Operator | www.vistraenergy.com/ | Member of the Utilities Services Alliance | PWR-DRYAMB | WEST 4LP | BECH | BRRT | 1974-12-19 | 1993-04-06 | 1993-08-03 | N/A | 2033-02-02 |  | 3612 | 1195 | 29 | 40 | 10.0986 | 25.25% | 1993 |  |  | 92% | 94% | 93% | 68% | 100% | 88% | 93% | 99% | 91% | 92% | 104% | 94% | 95% | 92% | 99% | 83%
2022 | Cooper Nuclear Station | Cooper | 05000298 | DPR-46 | Brownville, NE (23 MI S of Nebraska City, NE) | 4 | Nebraska Public Power District | Nebraska Public Power District | www.nppd.com |  | BWR-MARK 1 | GE 4 | B&R | B&R | 1968-06-04 | 1974-01-18 | 1974-07-01 | 11/29/2010 | 2034-01-18 |  | 2419 | 770 | 48 | 60 | 11.0575 | 18.43% | 1974 |  |  | 92% | 100% | 81% | 99% | 84% | 97% | 88% | 97% | 87% | 86% | 100% | 72% | 90% | 89% | 93% | 68%
2022 | Davis-Besse Nuclear Power Station, Unit 1 | Davis-Besse | 05000346 | NPF-3 | Oak Harbor, OH (21 MI ESE of Toledo, OH) | 3 | Energy Harbor Corp. | Energy Harbor Nuclear Generation LLC and Energy Harbor Nuclear Corp. | www.energyharbor.com |  | PWR-DRYAMB | B&W RLP | BECH | B&W | 1971-03-24 | 1977-04-22 | 1978-07-31 | 12/08/2015 | 2037-04-22 |  | 2817 | 894 | 45 | 60 | 14.3178 | 23.86% | 1977 |  |  | 92% | 98% | 93% | 97% | 79% | 97% | 74% | 95% | 91% | 81% | 66% | 99% | 97% | 94% | 75% | -1%
2022 | Diablo Canyon Nuclear Power Plant, Unit 1 | Diablo Canyon 1 | 05000275 | DPR-80 | Avila Beach, CA (12 MI WSW of San Luis Obispo, CA) | 4 | Pacific Gas & Electric Company | Pacific Gas & Electric Co. | www.pge.com | Strategic Teaming and Resource Sharing (STARS) group. They share resources for refueling outages and develop some shared licensing applications. | PWR-DRYAMB | WEST 4LP | PG&E | PG&E | 1968-04-23 | 1984-11-02 | 1985-05-07 | Application Withdrawn | 2024-11-02 |  | 3411 | 1122 | 38 | 40 | 1.8411 | 4.603% | 1984 |  |  | 90% | 89% | 98% | 81% | 98% | 87% | 87% | 95% | 84% | 100% | 88% | 84% | 98% | 87% | 76% | 101%
2022 | Diablo Canyon Nuclear Power Plant, Unit 2 | Diablo Canyon 2 | 05000323 | DPR-82 | Avila Beach, CA (12 MI WSW of San Luis Obispo, CA) | 4 | Pacific Gas & Electric Company | Pacific Gas & Electric Co. | www.pge.com | Strategic Teaming and Resource Sharing (STARS) group. They share resources for refueling outages and develop some shared licensing applications. | PWR-DRYAMB | WEST 4LP | PG&E | PG&E | 1970-12-09 | 1985-08-26 | 1986-03-13 | Application Withdrawn | 2025-08-26 |  | 3411 | 1118 | 37 | 40 | 2.6548 | 6.637% | 1985 |  |  | 75% | 75% | 87% | 95% | 88% | 95% | 86% | 82% | 97% | 89% | 100% | 84% | 74% | 99% | 84% | 81%
2022 | Donald C. Cook Nuclear Plant, Unit 1 | D.C. Cook 1 | 05000315 | DPR-58 | Bridgman, MI (13 M S of Benton Harbor, MI) | 3 | Indiana Michigan Power Company | Indiana Michigan Power Co. | www.indianamichiganpower.com |  | PWR-ICECND | WEST 4LP | AEP | AEP | 1969-03-25 | 1974-10-25 | 1975-08-28 | 08/30/2005 | 2034-10-25 |  | 3304 | 1009 | 48 | 60 | 11.8247 | 19.71% | 1974 |  |  | 94% | 79% | 100% | 72% | 82% | 78% | 94% | 78% | 104% | 87% | 88% | 3% | 64% | 91% | 99% | 74%
2022 | Donald C. Cook Nuclear Plant, Unit 2 | D.C. Cook 2 | 05000316 | DPR-74 | Bridgman, MI (13 M S of Benton Harbor, MI) | 3 | Indiana Michigan Power Company | Indiana Michigan Power Co. | www.indianamichiganpower.com |  | PWR-ICECND | WEST 4LP | AEP | AEP | 1969-03-25 | 1977-12-23 | 1978-07-01 | 08/30/2005 | 2037-12-23 |  | 3468 | 1168 | 45 | 60 | 14.989 | 24.98% | 1977 |  |  | 97% | 84% | 79% | 104% | 71% | 79% | 101% | 85% | 91% | 104% | 84% | 87% | 101% | 100% | 84% | 75%
2022 | Dresden Nuclear Power Station, Unit 2 | Dresden 2 | 05000237 | DPR-19 | Morris, IL (25 M SW of Joliet, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 1 | GE 3 | S&L | UE&C | 1966-01-10 | 1969-12-22 | 1970-06-09 | 10/28/2004 | 2029-12-22 |  | 2957 | 902 | 53 | 60 | 6.9808 | 11.63% | 1969 |  |  | 101% | 89% | 99% | 84% | 91% | 83% | 98% | 85% | 104% | 95% | 102% | 91% | 98% | 87% | 78% | 90%
2022 | Dresden Nuclear Power Station, Unit 3 | Dresden 3 | 05000249 | DPR-25 | Morris, IL (25 M SW of Joliet, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 1 | GE 3 | S&L | UE&C | 1966-10-14 | 1971-01-12 | 1971-11-16 | 10/28/2004 | 2031-01-12 |  | 2957 | 895 | 51 | 60 | 8.0384 | 13.4% | 1971 |  |  | 96% | 99% | 94% | 91% | 84% | 89% | 95% | 89% | 91% | 99% | 90% | 97% | 93% | 93% | 85% | 94%
2022 | Edwin I. Hatch Nuclear Plant, Unit 1 | Hatch 1 | 05000321 | DPR-57 | Baxley , GA (20 MI S of Vidalia, GA) | 2 | Southern Nuclear Operating Company | Southern Nuclear Operating Co. | www.southerncompany.com |  | BWR-MARK 1 | GE 4 | BECH | GPC | 1969-09-30 | 1974-10-13 | 1975-12-31 | 01/15/2002 | 2034-08-06 |  | 2804 | 876 | 48 | 60 | 11.6055 | 19.34% | 1974 |  |  | 83% | 98% | 91% | 97% | 93% | 101% | 89% | 94% | 89% | 98% | 85% | 94% | 84% | 91% | 90% | 95%
2022 | Edwin I. Hatch Nuclear Plant, Unit 2 | Hatch 2 | 05000366 | NPF-5 | Baxley , GA (20 MI S of Vidalia, GA) | 2 | Southern Nuclear Operating Company | Southern Nuclear Operating Co. | www.southerncompany.com |  | BWR-MARK 1 | GE 4 | BECH | GPC | 1972-12-27 | 1978-06-13 | 1979-09-05 | 01/15/2002 | 2038-06-13 |  | 2804 | 883 | 44 | 60 | 15.4603 | 25.77% | 1978 |  |  | 97% | 82% | 95% | 95% | 101% | 91% | 99% | 89% | 98% | 78% | 96% | 67% | 96% | 87% | 97% | 90%
2022 | Fermi, Unit 2 | Fermi 2 | 05000341 | NPF-43 | Newport, MI (25 MI NE of Toledo, OH) | 3 | DTE Electric Company (DTE) | DTE Electric Company | www.dteenergy.com |  | BWR-MARK 1 | GE 4 | S&L | DANI | 1972-09-26 | 1985-03-20 | 1988-01-23 | 12/15/2016 | 2045-03-20 |  | 3486 | 1141 | 37 | 60 | 22.2329 | 37.05% | 1985 |  |  | 61% | 99% | 75% | 82% | 86% | 69% | 82% | 62% | 54% | 94% | 80% | 75% | 98% | 90% | 87% | 83%
2022 | Grand Gulf Nuclear Station, Unit 1 | Grand Gulf 1 | 05000416 | NPF-29 | Port Gibson, MS (20 MI S of Vicksburg, MS) | 4 | Entergy Nuclear Operations, Inc. | Entergy Operations, Inc. | www.entergy-nuclear.com |  | BWR-MARK 3 | GE 6 | BECH | BECH | 1974-09-04 | 1984-11-01 | 1985-07-01 | 12/01/2016 | 2044-11-01 |  | 4408 | 1401 | 38 | 60 | 21.8521 | 36.42% | 1984 |  |  | 53% | 88% | 57% | 58% | 47% | 93% | 82% | 86% | 70% | 94% | 88% | 100% | 86% | 91% | 92% | 99%
2022 | H. B. Robinson Steam Electric Plant, Unit 2 | Robinson 2 | 05000261 | DPR-23 | Hartsville, SC (26 MI NW of Florence, SC) | 2 | Duke Energy | Duke Energy Progress, LLC | www.duke-energy.com |  | PWR-DRYAMB | WEST 3LP | EBSO | EBSO | 1967-04-13 | 1970-07-31 | 1971-03-07 | 04/19/2004 | 2030-07-31 |  | 2339 | 759 | 52 | 60 | 7.5863 | 12.64% | 1970 |  |  | 92% | 94% | 79% | 88% | 95% | 85% | 86% | 85% | 85% | 100% | 57% | 104% | 87% | 93% | 92% | 104%
2022 | Hope Creek Generating Station, Unit 1 | Hope Creek 1 | 05000354 | NPF-57 | Hancocks Bridge, NJ (18 MI SE of Wilmington, DE) | 1 | PSEG Nuclear, LLC | PSEG Nuclear, LLC | www.pseg.com |  | BWR-MARK 1 | GE 4 | BECH | BECH | 1974-11-04 | 1986-07-25 | 1986-12-20 | 07/20/2011 | 2046-04-11 |  | 3902 | 1172 | 36 | 60 | 23.2932 | 38.82% | 1986 |  |  | 103% | 84% | 90% | 94% | 85% | 83% | 102% | 80% | 93% | 103% | 93% | 95% | 108% | 83% | 65% | 79%
2022 | James A. FitzPatrick Nuclear Power Plant | FitzPatrick | 05000333 | DPR-59 | Scriba, NY (6 MI NE of Oswego, NY) | 1 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 1 | GE 4 | S&W | S&W | 1970-05-20 | 1974-10-17 | 1975-07-28 | 09/08/2008 | 2034-10-17 |  | 2536 | 848 | 48 | 60 | 11.8027 | 19.67% | 1974 |  |  | 89% | 100% | 89% | 80% | 76% | 96% | 79% | 89% | 84% | 97% | 85% | 99% | 89% | 95% | 87% | 96%
2022 | Joseph M. Farley Nuclear Plant, Unit 1 | Farley 1 | 05000348 | NPF-2 | Columbia, AL (18 MI E of Dothan, AL) | 2 | Southern Nuclear Operating Company | Southern Nuclear Operating Co. | www.southerncompany.com |  | PWR-DRYAMB | WEST 3LP | SSI | DANI | 1972-08-16 | 1977-06-25 | 1977-12-01 | 05/12/2005 | 2037-06-25 |  | 2775 | 874 | 45 | 60 | 14.4932 | 24.16% | 1977 |  |  | 102% | 91% | 84% | 100% | 86% | 86% | 102% | 90% | 91% | 101% | 88% | 90% | 97% | 99% | 86% | 91%
2022 | Joseph M. Farley Nuclear Plant, Unit 2 | Farley 2 | 05000364 | NPF-8 | Columbia, AL (18 MI E of Dothan, AL) | 2 | Southern Nuclear Operating Company | Southern Nuclear Operating Co. | www.southerncompany.com |  | PWR-DRYAMB | WEST 3LP | SSI | BECH | 1972-08-16 | 1981-03-31 | 1981-07-30 | 05/12/2005 | 2041-03-31 |  | 2775 | 877 | 41 | 60 | 18.2603 | 30.43% | 1981 |  |  | 91% | 92% | 99% | 91% | 90% | 98% | 89% | 91% | 104% | 89% | 88% | 96% | 90% | 84% | 89% | 100%
2022 | LaSalle County Station, Unit 1 | La Salle 1 | 05000373 | NPF-11 | Marseilles, IL (11 MI SE of Ottawa, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 2 | GE 5 | S&L | CWE | 1973-09-10 | 1982-04-17 | 1984-01-01 | 10/19/2016 | 2042-04-17 |  | 3546 | 1131 | 40 | 60 | 19.3068 | 32.18% | 1982 |  |  | 96% | 99% | 92% | 96% | 89% | 99% | 93% | 95% | 97% | 101% | 94% | 99% | 100% | 100% | 92% | 92%
2022 | LaSalle County Station, Unit 2 | La Salle 2 | 05000374 | NPF-18 | Marseilles, IL (11 MI SE of Ottawa, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 2 | GE 5 | S&L | CWE | 1973-09-10 | 1983-12-16 | 1984-10-19 | 10/19/2016 | 2043-12-16 |  | 3546 | 1134 | 39 | 60 | 20.9726 | 34.95% | 1983 |  |  | 102% | 92% | 98% | 88% | 95% | 83% | 95% | 88% | 103% | 96% | 101% | 93% | 94% | 91% | 101% | 91%
2022 | Limerick Generating Station, Unit 1 | Limerick 1 | 05000352 | NPF-39 | Limerick, PA (21 MI NW of Philadelphia, PA) | 1 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 2 | GE 4 | BECH | BECH | 1974-06-19 | 1985-08-08 | 1986-02-01 | 10/20/2014 | 2044-10-26 |  | 3515 | 1120 | 37 | 60 | 21.8356 | 36.39% | 1985 |  |  | 93% | 99% | 92% | 100% | 93% | 100% | 91% | 101% | 85% | 96% | 91% | 101% | 95% | 99% | 95% | 101%
2022 | Limerick Generating Station, Unit 2 | Limerick 2 | 05000353 | NPF-85 | Limerick, PA (21 MI NW of Philadelphia, PA) | 1 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 2 | GE 4 | BECH | BECH | 1974-06-19 | 1989-08-25 | 1990-01-08 | 10/20/2014 | 2049-06-22 |  | 3515 | 1122 | 33 | 60 | 26.4932 | 44.16% | 1989 |  |  | 104% | 91% | 99% | 86% | 101% | 89% | 99% | 94% | 95% | 90% | 99% | 94% | 101% | 91% | 99% | 94%
2022 | McGuire Nuclear Station, Unit 1 | McGuire 1 | 05000369 | NPF-9 | Huntersville, NC (17 MI N of Charlotte, NC) | 2 | Duke Energy | Duke Energy Carolinas, LLC | www.duke-energy.com |  | PWR-ICECND | WEST 4LP | DUKE | DUKE | 1973-02-23 | 1981-05-27 | 1981-12-01 | 12/05/2003 | 2041-06-12 |  | 3411 | 1158 | 41 | 60 | 18.4603 | 30.77% | 1981 |  |  | 93% | 90% | 100% | 90% | 89% | 95% | 82% | 82% | 105% | 94% | 92% | 104% | 87% | 93% | 85% | 103%
2022 | McGuire Nuclear Station, Unit 2 | McGuire 2 | 05000370 | NPF-17 | Huntersville, NC (17 MI N of Charlotte, NC) | 2 | Duke Energy | Duke Energy Carolinas, LLC | www.duke-energy.com |  | PWR-ICECND | WEST 4LP | DUKE | DUKE | 1973-02-23 | 1983-05-27 | 1984-03-01 | 12/05/2003 | 2043-03-03 |  | 3411 | 1158 | 39 | 60 | 20.1836 | 33.64% | 1983 |  |  | 95% | 100% | 92% | 86% | 97% | 87% | 94% | 95% | 82% | 91% | 104% | 94% | 90% | 89% | 103% | 94%
2022 | Millstone Power Station, Unit 2 | Millstone 2 | 05000336 | DPR-65 | Waterford, CT (3.2 MI WSW of New London, CT) | 1 | Dominion Generation | Dominion Energy Nuclear Connecticut, Inc. | www.dom.com |  | PWR-DRYAMB | CE | BECH | BECH | 1970-12-11 | 1975-09-26 | 1975-12-26 | 11/28/2005 | 2035-07-31 |  | 2700 | 853 | 47 | 60 | 12.589 | 20.98% | 1975 |  |  | 89% | 97% | 82% | 85% | 93% | 85% | 85% | 95% | 83% | 87% | 97% | 81% | 86% | 88% | 98% | 80%
2022 | Millstone Power Station, Unit 3 | Millstone 3 | 05000423 | NPF-49 | Waterford, CT (3.2 MI WSW of New London, CT) | 1 | Dominion Generation | Dominion Energy Nuclear Connecticut, Inc. | www.dom.com |  | PWR-DRYSUB | WEST 4LP | S&W | S&W | 1974-08-09 | 1986-01-31 | 1986-04-23 | 11/28/2005 | 2045-11-25 |  | 3650 | 1220 | 36 | 60 | 22.9178 | 38.2% | 1986 |  |  | 84% | 89% | 100% | 89% | 83% | 97% | 87% | 87% | 100% | 87% | 86% | 105% | 88% | 86% | 88% | 101%
2022 | Monticello Nuclear Generating Plant, Unit 1 | Monticello | 05000263 | DPR-22 | Monticello, MN (30 MI NW of Minneapolis, MN) | 3 | Northern States Power Company Minnesota doing business as Xcel Energy | Northern States Power Company - Minnesota | www.xcelenergy.com |  | BWR-MARK 1 | GE 3 | BECH | BECH | 1967-06-19 | 1970-09-08 | 1971-06-30 | 11/08/2006 | 2030-09-08 |  | 2004 | 617 | 52 | 60 | 7.6932 | 12.82% | 1970 |  |  | 103% | 88% | 99% | 86% | 93% | 78% | 78% | 50% | 101% | 69% | 94% | 83% | 97% | 89% | 101% | 92%
2022 | Nine Mile Point Nuclear Station, Unit 1 | Nine Mile Point 1 | 05000220 | DPR-63 | Scriba, NY (6 MI NE of Oswego, NY) | 1 | Constellation Energy Corporation | Nine Mile Point Nuclear Station, LLC – Owner<br>Constellation Energy Generation, LLC – Operator | www.constellationenergy.com |  | BWR-MARK 1 | GE 2 | NIAG | S&W | 1965-04-12 | 1974-12-26 | 1969-12-01 | 10/31/2006 | 2029-08-22 |  | 1850 | 621 | 48 | 50 | 6.6466 | 13.29% | 1974 |  |  | 100% | 85% | 99% | 87% | 96% | 88% | 98% | 88% | 87% | 84% | 97% | 92% | 98% | 85% | 92% | 80%
2022 | Nine Mile Point Nuclear Station, Unit 2 | Nine Mile Point 2 | 05000410 | NPF-69 | Scriba, NY (6 MI NE of Oswego, NY) | 1 | Constellation Energy Corporation | Nine Mile Point Nuclear Station, LLC – Owner<br>Constellation Energy Generation, LLC – Operator | www.constellationenergy.com |  | BWR-MARK 2 | GE 5 | S&W | S&W | 1974-06-24 | 1987-07-02 | 1988-03-11 | 10/31/2006 | 2046-10-31 |  | 3988 | 1292 | 35 | 60 | 23.8493 | 39.75% | 1987 |  |  | 90% | 99% | 90% | 101% | 92% | 100% | 87% | 99% | 83% | 95% | 89% | 99% | 90% | 100% | 86% | 96%
2022 | North Anna Power Station, Unit 1 | North Anna 1 | 05000338 | NPF-4 | Mineral (Louisa County), VA (40 MI NW of Richmond, VA) | 2 | Dominion Generation | Virginia Electric & Power Co. | www.dom.com |  | PWR-DRYSUB | WEST 3LP | S&W | S&W | 1971-02-19 | 1978-04-01 | 1978-06-06 | 03/20/2003 | 2038-04-01 |  | 2940 | 948 | 44 | 60 | 15.2603 | 25.43% | 1978 |  |  | 102% | 93% | 90% | 99% | 89% | 91% | 100% | 89% | 89% | 78% | 86% | 92% | 101% | 95% | 91% | 81%
2022 | North Anna Power Station, Unit 2 | North Anna 2 | 05000339 | NPF-7 | Mineral (Louisa County), VA (40 MI NW of Richmond, VA) | 2 | Dominion Generation | Virginia Electric & Power Co. | www.dom.com |  | PWR-DRYSUB | WEST 3LP | S&W | S&W | 1971-02-19 | 1980-08-21 | 1980-12-14 | 03/20/2003 | 2040-08-21 |  | 2940 | 944 | 42 | 60 | 17.6521 | 29.42% | 1980 |  |  | 88% | 88% | 99% | 89% | 87% | 99% | 92% | 85% | 99% | 76% | 100% | 100% | 82% | 87% | 92% | 90%
2022 | Oconee Nuclear Station, Unit 1 | Oconee 1 | 05000269 | DPR-38 | Seneca, SC (30 MI W of Greenville, SC) | 2 | Duke Energy | Duke Energy Carolinas, LLC | www.duke-energy.com |  | PWR-DRYAMB | B&W LLP | DBDB | DUKE | 1967-11-06 | 1973-02-06 | 1973-07-15 | 05/23/2000 | 2033-02-06 |  | 2610 | 847 | 49 | 60 | 10.1096 | 16.85% | 1973 |  |  | 92% | 100% | 90% | 95% | 83% | 96% | 91% | 91% | 90% | 79% | 100% | 85% | 84% | 91% | 98% | 71%
2022 | Oconee Nuclear Station, Unit 2 | Oconee 2 | 05000270 | DPR-47 | Seneca, SC (30 MI W of Greenville, SC) | 2 | Duke Energy | Duke Energy Carolinas, LLC | www.duke-energy.com |  | PWR-DRYAMB | B&W LLP | DBDB | DUKE | 1967-11-06 | 1973-10-06 | 1974-09-09 | 05/23/2000 | 2033-10-06 |  | 2610 | 848 | 49 | 60 | 10.7726 | 17.95% | 1973 |  |  | 103% | 90% | 100% | 88% | 98% | 89% | 101% | 82% | 102% | 93% | 91% | 103% | 86% | 90% | 76% | 102%
2022 | Oconee Nuclear Station, Unit 3 | Oconee 3 | 05000287 | DPR-55 | Seneca, SC (30 MI W of Greenville, SC) | 2 | Duke Energy | Duke Energy Carolinas, LLC | www.duke-energy.com |  | PWR-DRYAMB | B&W LLP | DBDB | DUKE | 1967-11-06 | 1974-07-19 | 1974-12-16 | 05/23/2000 | 2034-07-19 |  | 2610 | 859 | 48 | 60 | 11.5562 | 19.26% | 1974 |  |  | 93% | 100% | 92% | 97% | 91% | 97% | 92% | 97% | 86% | 103% | 91% | 94% | 102% | 98% | 77% | 85%
2022 | Palo Verde Nuclear Generating Station, Unit 1 | Palo Verde 1 | 05000528 | NPF-41 | Wintersburg, AZ (50 MI W of Phoenix, AZ) | 4 | Arizona Public Service Company | Arizona Public Service Company | www.aps.com | Strategic Teaming and Resource Sharing (STARS) group. They share resources for refueling outages and develop some shared licensing applications. | PWR-DRYAMB | CE80-2L | BECH | BECH | 1976-05-25 | 1985-06-01 | 1986-01-28 | 04/21/2011 | 2045-06-01 |  | 3990 | 1311 | 37 | 60 | 22.4329 | 37.39% | 1985 |  |  | 85% | 90% | 97% | 85% | 83% | 94% | 90% | 85% | 100% | 83% | 81% | 101% | 86% | 63% | 85% | 97%
2022 | Palo Verde Nuclear Generating Station, Unit 2 | Palo Verde 2 | 0'5000529 | NPF-51 | Wintersburg, AZ (50 MI W of Phoenix, AZ) | 4 | Arizona Public Service Company | Arizona Public Service Company | www.aps.com | Strategic Teaming and Resource Sharing (STARS) group. They share resources for refueling outages and develop some shared licensing applications. | PWR-DRYAMB | CE80-2L | BECH | BECH | 1976-05-25 | 1986-04-24 | 1986-09-19 | 04/21/2011 | 2046-04-24 |  | 3990 | 1314 | 36 | 60 | 23.3288 | 38.88% | 1986 |  |  | 91% | 98% | 82% | 86% | 95% | 85% | 90% | 91% | 90% | 91% | 101% | 83% | 74% | 82% | 92% | 72%
2022 | Palo Verde Nuclear Generating Station, Unit 3 | Palo Verde 3 | 05000530 | NPF-74 | Wintersburg, AZ (50 MI W of Phoenix, AZ) | 4 | Arizona Public Service Company | Arizona Public Service Company | www.aps.com | Strategic Teaming and Resource Sharing (STARS) group. They share resources for refueling outages and develop some shared licensing applications. | PWR-DRYAMB | CE80-2L | BECH | BECH | 1976-05-25 | 1987-11-25 | 1988-01-08 | 04/21/2011 | 2047-11-25 |  | 3990 | 1312 | 35 | 60 | 24.9178 | 41.53% | 1987 |  |  | 98% | 87% | 90% | 92% | 85% | 85% | 101% | 79% | 88% | 97% | 89% | 83% | 97% | 84% | 75% | 88%
2022 | Peach Bottom Atomic Power Station, Unit 2 | Peach Bottom 2 | 05000277 | DPR-44 | Delta, PA (17.9 MI S of Lancaster, PA) | 1 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 1 | GE 4 | BECH | BECH | 1968-01-31 | 1973-10-25 | 1974-07-05 | 05/07/2003 | 2053-08-08 | 2020-03-05 | 4016 | 1265 | 49 | 80 | 30.6247 | 38.28% | 1973 |  |  | 92% | 100% | 94% | 92% | 96% | 99% | 88% | 100% | 88% | 101% | 92% | 102% | 89% | 98% | 91% | 95%
2022 | Peach Bottom Atomic Power Station, Unit 3 | Peach Bottom 3 | 05000278 | DPR-56 | Delta, PA (17.9 MI S of Lancaster, PA) | 1 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 1 | GE 4 | BECH | BECH | 1968-01-31 | 1974-07-02 | 1974-12-23 | 05/07/2003 | 2054-07-02 | 2020-03-05 | 4016 | 1285 | 48 | 80 | 31.5233 | 39.4% | 1974 |  |  | 103% | 93% | 94% | 86% | 95% | 75% | 103% | 85% | 103% | 90% | 100% | 89% | 99% | 91% | 102% | 91%
2022 | Perry Nuclear Power Plant, Unit 1 | Perry 1 | 05000440 | NPF-58 | Perry, OH (35 MI NE of Cleveland, OH) | 3 | Energy Harbor Corp. | Energy Harbor Nuclear Generation LLC and Energy Harbor Nuclear Corp. | www.energyharbor.com |  | BWR-MARK 3 | GE 6 | GIL | KAIS | 1977-05-03 | 1986-11-13 | 1987-11-18 | N/A | 2026-03-18 |  | 3758 | 1240 | 36 | 40 | 3.2137 | 8.034% | 1986 |  |  | 101% | 83% | 99% | 85% | 91% | 83% | 96% | 73% | 92% | 79% | 98% | 67% | 98% | 71% | 94% | 79%
2022 | Point Beach Nuclear Plant, Unit 1 | Point Beach 1 | 05000266 | DPR-24 | Two Rivers, WI (13 MI NNW of Manitowoc, WI) | 3 | NextEra Energy, Inc. with principal subsidiaries Florida Power & Light Co. and NextEra Energy Resources, LLC | NextEra Energy Point Beach, LLC | nexteraenergy.com |  | PWR-DRYAMB | WEST 2LP | BECH | BECH | 1967-07-19 | 1970-10-05 | 1970-12-21 | 12/22/2005 | 2030-10-05 |  | 1800 | 598 | 52 | 60 | 7.7671 | 12.95% | 1970 |  |  | 92% | 91% | 99% | 86% | 86% | 92% | 90% | 84% | 100% | 79% | 88% | 98% | 87% | 81% | 81% | 97%
2022 | Point Beach Nuclear Plant, Unit 2 | Point Beach 2 | 05000301 | DPR-27 | Two Rivers, WI (13 MI NNW of Manitowoc, WI) | 3 | NextEra Energy, Inc. with principal subsidiaries Florida Power & Light Co. and NextEra Energy Resources, LLC | NextEra Energy Point Beach, LLC | nexteraenergy.com |  | PWR-DRYAMB | WEST 2LP | BECH | BECH | 1968-07-25 | 1973-03-08 | 1972-10-01 | 12/22/2005 | 2033-03-08 |  | 1800 | 603 | 49 | 60 | 10.1918 | 16.99% | 1973 |  |  | 93% | 99% | 94% | 85% | 94% | 86% | 90% | 93% | 89% | 67% | 96% | 84% | 89% | 72% | 97% | 83%
2022 | Prairie Island Nuclear Generating Plant, Unit 1 | Prairie Island 1 | 05000282 | DPR-42 | Welch, MN (28 MI SE of Minneapolis, MN) | 3 | Northern States Power Company Minnesota doing business as Xcel Energy | Northern States Power Co. Minnesota | www.xcelenergy.com |  | PWR-DRYAMB | WEST 2LP | FLUR | NSP | 1968-06-25 | 1974-04-05 | 1973-12-16 | 06/27/2011 | 2033-08-09 |  | 1677 | 521 | 48 | 60 | 10.6137 | 17.69% | 1974 |  |  | 95% | 99% | 89% | 88% | 81% | 77% | 84% | 90% | 81% | 91% | 96% | 97% | 84% | 99% | 79% | 101%
2022 | Prairie Island Nuclear Generating Plant, Unit 2 | Prairie Island 2 | 05000306 | DPR-60 | Welch, MN (28 MI SE of Minneapolis, MN) | 3 | Northern States Power Company Minnesota doing business as Xcel Energy | Northern States Power Co. Minnesota | www.xcelenergy.com |  | PWR-DRYAMB | WEST 2LP | FLUR | NSP | 1968-06-25 | 1974-10-29 | 1974-12-21 | 06/27/2011 | 2034-10-29 |  | 1677 | 519 | 48 | 60 | 11.8356 | 19.73% | 1974 |  |  | 104% | 91% | 100% | 80% | 78% | 65% | 101% | 59% | 74% | 99% | 86% | 75% | 85% | 84% | 102% | 93%
2022 | Quad Cities Nuclear Power Station, Unit 1 | Quad Cities 1 | 05000254 | DPR-29 | Cordova, IL (20 MI NE of Moline, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 1 | GE 3 | S&L | UE&C | 1967-02-15 | 1972-12-14 | 1973-02-18 | 10/28/2004 | 2032-12-14 |  | 2957 | 908 | 50 | 60 | 9.9616 | 16.6% | 1972 |  |  | 101% | 91% | 99% | 85% | 92% | 83% | 103% | 85% | 102% | 92% | 99% | 82% | 96% | 83% | 85% | 90%
2022 | Quad Cities Nuclear Power Station, Unit 2 | Quad Cities 2 | 05000265 | DPR-30 | Cordova, IL (20 MI NE of Moline, IL) | 3 | Constellation Energy Corporation | Constellation Energy Generation, LLC | www.constellationenergy.com |  | BWR-MARK 1 | GE 3 | S&L | UE&C | 1967-02-15 | 1972-12-14 | 1973-03-10 | 10/28/2004 | 2032-12-14 |  | 2957 | 911 | 50 | 60 | 9.9616 | 16.6% | 1972 |  |  | 95% | 99% | 92% | 89% | 85% | 95% | 90% | 91% | 92% | 104% | 92% | 91% | 86% | 93% | 81% | 92%
2022 | R.E. Ginna Nuclear Power Plant | Ginna | 05000244 | DPR-18 | Ontario, NY (20 MI NE of Rochester, NY) | 1 | Constellation Energy Corporation | R.E. Ginna Nuclear Power Plant, LLC | www.constellationenergy.com |  | PWR-DRYAMB | WEST 2LP | GIL | BECH | 1966-04-25 | 1969-09-19 | 1970-07-01 | 05/19/2004 | 2029-09-18 |  | 1775 | 581 | 53 | 60 | 6.7205 | 11.2% | 1969 |  |  | 85% | 99% | 93% | 87% | 94% | 89% | 91% | 93% | 90% | 84% | 97% | 91% | 109% | 92% | 99% | 89%
2022 | River Bend Station, Unit 1 | River Bend 1 | 05000458 | NPF-47 | St. Francisville, LA (24 MI NNW of Baton Rouge, LA) | 4 | Entergy Nuclear Operations, Inc. | Entergy Operations, Inc. | www.entergy-nuclear.com |  | BWR-MARK 3 | GE 6 | S&W | S&W | 1977-03-25 | 1985-11-20 | 1986-06-16 | 12/20/2018 | 2045-08-29 |  | 3091 | 968 | 37 | 60 | 22.6767 | 37.79% | 1985 |  |  | 94% | 76% | 82% | 77% | 78% | 76% | 96% | 84% | 91% | 90% | 98% | 113% | 82% | 93% | 87% | 89%
2022 | St. Lucie Plant, Unit 1 | Saint Lucie 1 | 05000335 | DPR-67 | Jensen Beach, FL (10 MI SE of Ft. Pierce, FL) | 2 | NextEra Energy, Inc. with principal subsidiaries Florida Power & Light Co. and NextEra Energy Resources, LLC | Florida Power & Light Co. | nexteraenergy.com |  | PWR-DRYAMB | CE | EBSO | EBSO | 1970-07-01 | 1976-03-01 | 1976-12-21 | 10/02/2003 | 2036-03-01 |  | 3020 | 981 | 46 | 60 | 13.1753 | 21.96% | 1976 |  |  | 101% | 70% | 91% | 90% | 73% | 83% | 101% | 74% | 72% | 85% | 72% | 100% | 91% | 83% | 86% | 102%
2022 | St. Lucie Plant, Unit 2 | Saint Lucie 2 | 05000389 | NPF-16 | Jensen Beach, FL (10 MI SE of Ft. Pierce, FL) | 2 | NextEra Energy, Inc. with principal subsidiaries Florida Power & Light Co. and NextEra Energy Resources, LLC | Florida Power & Light Co. | nexteraenergy.com |  | PWR-DRYAMB | CE | EBSO | EBSO | 1977-05-02 | 1983-04-06 | 1983-08-08 | 10/02/2003 | 2043-04-06 |  | 3020 | 987 | 39 | 60 | 20.2767 | 33.79% | 1983 |  |  | 93% | 100% | 87% | 84% | 92% | 77% | 82% | 91% | 68% | 66% | 100% | 80% | 99% | 86% | 92% | 80%
2022 | Salem Nuclear Generating Station, Unit 1 | Salem 1 | 05000272 | DPR-70 | Hancocks Bridge, NJ (18 MI SE of Wilmington, DE) | 1 | PSEG Nuclear, LLC | PSEG Nuclear, LLC | www.pseg.com |  | PWR-DRYAMB | WEST 4LP | PSEG | UE&C | 1968-09-25 | 1976-12-01 | 1977-06-30 | 06/30/2011 | 2036-08-13 |  | 3459 | 1153 | 46 | 60 | 13.6274 | 22.71% | 1976 |  |  | 71% | 79% | 100% | 90% | 68% | 95% | 86% | 88% | 97% | 86% | 85% | 99% | 91% | 92% | 72% | 94%
2022 | Salem Nuclear Generating Station, Unit 2 | Salem 2 | 05000311 | DPR-75 | Hancocks Bridge, NJ (18 MI SE of Wilmington, DE) | 1 | PSEG Nuclear, LLC | PSEG Nuclear, LLC | www.pseg.com |  | PWR-DRYAMB | WEST 4LP | PSEG | UE&C | 1968-09-25 | 1981-05-20 | 1981-10-13 | 06/30/2011 | 2040-04-18 |  | 3459 | 1142 | 41 | 60 | 17.3096 | 28.85% | 1981 |  |  | 90% | 99% | 87% | 85% | 85% | 85% | 73% | 100% | 88% | 89% | 98% | 93% | 83% | 90% | 88% | 82%
2022 | Seabrook Station, Unit 1 | Seabrook 1 | 05000443 | NPF-86 | Seabrook, NH (13 MI S of Portsmouth, NH) | 1 | NextEra Energy, Inc. with principal subsidiaries Florida Power & Light Co. and NextEra Energy Resources, LLC | NextEra Energy Seabrook, LLC | nexteraenergy.com |  | PWR-DRYAMB | WEST 4LP | UE&C | UE&C | 1976-07-07 | 1990-03-15 | 1990-08-19 | 03/12/2019 | 2050-03-15 |  | 3648 | 1250 | 32 | 60 | 27.2219 | 45.37% | 1990 |  |  | 90% | 100% | 92% | 92% | 99% | 87% | 93% | 100% | 75% | 77% | 100% | 81% | 89% | 89% | 100% | 91%
2022 | Sequoyah Nuclear Plant, Unit 1 | Sequoyah 1 | 05000327 | DPR-77 | Soddy-Daisy, TN (16 MI NE of Chattanooga, TN) | 2 | Tennessee Valley Authority | Tennessee Valley Authority | www.tva.gov |  | PWR-ICECND | WEST 4LP | TVA | TVA | 1970-05-27 | 1980-09-17 | 1981-07-01 | 09/24/2015 | 2040-09-17 |  | 3455 | 1152 | 42 | 60 | 17.726 | 29.54% | 1980 |  |  | 97% | 82% | 89% | 88% | 71% | 87% | 100% | 83% | 89% | 98% | 84% | 89% | 101% | 100% | 92% | 73%
2022 | Sequoyah Nuclear Plant, Unit 2 | Sequoyah 2 | 05000328 | DPR-79 | Soddy-Daisy, TN (16 MI NE of Chattanooga, TN) | 2 | Tennessee Valley Authority | Tennessee Valley Authority | www.tva.gov |  | PWR-ICECND | WEST 4LP | TVA | TVA | 1970-05-27 | 1981-09-15 | 1982-06-01 | 09/28/2015 | 2041-09-15 |  | 3455 | 1126 | 41 | 60 | 18.7205 | 31.2% | 1981 |  |  | 94% | 99% | 88% | 83% | 90% | 73% | 90% | 90% | 77% | 89% | 97% | 89% | 89% | 90% | 96% | 84%
2022 | Shearon Harris Nuclear Power Plant, Unit 1 | Shearon Harris 1 | 05000400 | NPF-63 | New Hill, NC (20 MI SW of Raleigh, NC) | 2 | Duke Energy | Duke Energy Progress, LLC | www.duke-energy.com |  | PWR-DRYAMB | WEST 3LP | EBSO | DANI | 1978-01-27 | 1986-10-24 | 1987-05-02 | 12/17/2008 | 2046-10-24 |  | 2948 | 964 | 36 | 60 | 23.8301 | 39.72% | 1986 |  |  | 98% | 89% | 89% | 99% | 90% | 87% | 99% | 83% | 90% | 103% | 90% | 94% | 99% | 101% | 89% | 92%
2022 | South Texas Project, Unit 1 | South Texas 1 | 05000498 | NPF-76 | Bay City, TX (90 MI SW of Houston, TX) | 4 | STP Nuclear Operating Company | STP Nuclear Operating Co. | www.stpnoc.com |  | PWR-DRYAMB | WEST 4LP | BECH | EBSO | 1975-12-22 | 1988-03-22 | 1988-08-25 | 09/28/2017 | 2047-08-20 |  | 3853 | 1280 | 34 | 60 | 24.6521 | 41.09% | 1988 |  |  | 93% | 100% | 89% | 85% | 95% | 78% | 81% | 91% | 93% | 94% | 101% | 90% | 95% | 88% | 99% | 61%
2022 | South Texas Project, Unit 2 | South Texas 2 | 05000499 | NPF-80 | Bay City, TX (90 MI SW of Houston, TX) | 4 | STP Nuclear Operating Company | STP Nuclear Operating Co. | www.stpnoc.com |  | PWR-DRYAMB | WEST 4LP | BECH | EBSO | 1975-12-22 | 1989-03-28 | 1989-06-19 | 09/28/2017 | 2048-12-15 |  | 3853 | 1280 | 33 | 60 | 25.9753 | 43.29% | 1989 |  |  | 103% | 91% | 90% | 97% | 88% | 85% | 103% | 59% | 72% | 88% | 88% | 101% | 95% | 89% | 92% | 79%
2022 | Surry Power Station, Unit 1 | Surry 1 | 05000280 | DPR-32 | Surry, VA (17 MI NW of Newport News, VA) | 2 | Dominion Generation | Virginia Electric & Power Co. | www.dom.com |  | PWR-DRYSUB | WEST 3LP | S&W | S&W | 1968-06-25 | 1972-05-25 | 1972-12-22 | 03/20/2003 | 2052-05-25 | 2021-05-04 | 2587 | 838 | 50 | 80 | 29.4192 | 36.77% | 1972 |  |  | 103% | 88% | 87% | 101% | 96% | 76% | 99% | 91% | 92% | 101% | 89% | 94% | 98% | 96% | 92% | 76%
2022 | Surry Power Station, Unit 2 | Surry 2 | 05000281 | DPR-37 | Surry, VA (17 MI NW of Newport News, VA) | 2 | Dominion Generation | Virginia Electric & Power Co. | www.dom.com |  | PWR-DRYSUB | WEST 3LP | S&W | S&W | 1968-06-25 | 1973-01-29 | 1973-05-01 | 03/20/2003 | 2053-01-29 | 2021-05-04 | 2587 | 838 | 49 | 80 | 30.1014 | 37.63% | 1973 |  |  | 92% | 100% | 88% | 93% | 101% | 82% | 95% | 101% | 91% | 76% | 100% | 92% | 94% | 93% | 101% | 79%
2022 | Susquehanna Steam Electric Station, Unit 1 | Susquehanna 1 | 05000387 | NPF-14 | Salem Township, Luzerne Co., PA (70 MI NE of Harrisburg, PA) | 1 | Talen Energy Corporation | Susquehanna Nuclear, LLC | www.talenenergy.com |  | BWR-MARK 2 | GE 4 | BECH | BECH | 1973-11-03 | 1982-07-17 | 1983-06-08 | 11/24/2009 | 2042-07-17 |  | 3952 | 1247 | 40 | 60 | 19.5562 | 32.59% | 1982 |  |  | 85% | 99% | 86% | 97% | 77% | 76% | 83% | 87% | 70% | 86% | 80% | 101% | 89% | 95% | 80% | 96%
2022 | Susquehanna Steam Electric Station, Unit 2 | Susquehanna 2 | 05000388 | NPF-22 | Salem Township, Luzerne Co., PA (70 MI NE of Harrisburg, PA) | 1 | Talen Energy Corporation | Susquehanna Nuclear, LLC | www.talenenergy.com |  | BWR-MARK 2 | GE 4 | BECH | BECH | 1973-11-03 | 1984-03-23 | 1985-02-12 | 11/24/2009 | 2044-03-23 |  | 3952 | 1247 | 38 | 60 | 21.2411 | 35.4% | 1984 |  |  | 97% | 89% | 99% | 86% | 93% | 82% | 88% | 80% | 83% | 72% | 96% | 90% | 100% | 89% | 100% | 86%
2022 | Turkey Point Nuclear Generating Unit No. 3 | Turkey Point 3 | 05000250 | DPR-31 | Homestead, FL (20 MI S of Miami, FL) | 2 | NextEra Energy, Inc. with principal subsidiaries Florida Power & Light Co. and NextEra Energy Resources, LLC | Florida Power & Light Co. | www.fplgroup.com |  | PWR-DRYAMB | WEST 3LP | BECH | BECH | 1967-04-27 | 1972-07-19 | 1972-12-14 | 06/06/2002 | 2052-07-19 | 2019-12-04 | 2644 | 837 | 50 | 80 | 29.5699 | 36.96% | 1972 |  |  | 89% | 99% | 89% | 80% | 93% | 78% | 84% | 81% | 40% | 96% | 88% | 86% | 101% | 96% | 78% | 90%
2022 | Turkey Point Nuclear Generating Unit No. 4 | Turkey Point 4 | 05000251 | DPR-41 | Homestead, FL (20 MI S of Miami, FL) | 2 | NextEra Energy, Inc. with principal subsidiaries Florida Power & Light Co. and NextEra Energy Resources, LLC | Florida Power & Light Co. | www.fplgroup.com |  | PWR-DRYAMB | WEST 3LP | BECH | BECH | 1967-04-27 | 1973-04-10 | 1973-09-07 | 06/06/2002 | 2053-04-10 | 2019-12-04 | 2644 | 861 | 49 | 80 | 30.2959 | 37.87% | 1973 |  |  | 80% | 91% | 100% | 98% | 99% | 106% | 88% | 70% | 85% | 84% | 98% | 99% | 89% | 89% | 70%
2022 | Virgil C. Summer Nuclear Station, Unit 1 | Summer | 05000395 | NPF-12 | Jenkinsville, SC (26 MI NW of Columbia, SC) | 2 | Dominion Generation | Dominion Energy South Carolina, Inc. | www.dom.com |  | PWR-DRYAMB | WEST 3LP | GIL | DANI | 1973-03-21 | 1982-11-12 | 1984-01-01 | 04/23/2004 | 2042-08-06 |  | 2900 | 971 | 40 | 60 | 19.611 | 32.68% | 1982 |  |  | 91% | 95% | 85% | 77% | 96% | 79% | 81% | 93% | 86% | 88% | 100% | 81% | 87% | 88% | 97% | 87%
2022 | Vogtle Electric Generating Plant, Unit 1 | Vogtle 1 | 05000424 | NPF-68 | Waynesboro, GA (26 MI SE of Augusta, GA) | 2 | Southern Nuclear Operating Company | Southern Nuclear Operating Co. | www.southerncompany.com |  | PWR-DRYAMB | WEST 4LP | SBEC | GPC | 1974-06-28 | 1987-03-16 | 1987-06-01 | 06/03/2009 | 2047-01-16 |  | 3625.6 | 1150 | 35 | 60 | 24.0603 | 40.1% | 1987 |  |  | 95% | 100% | 93% | 93% | 101% | 91% | 87% | 101% | 91% | 92% | 102% | 91% | 93% | 91% | 100% | 93%
2022 | Vogtle Electric Generating Plant, Unit 2 | Vogtle 2 | 05000425 | NPF-81 | Waynesboro, GA (26 MI SE of Augusta, GA) | 2 | Southern Nuclear Operating Company | Southern Nuclear Operating Co. | www.southerncompany.com |  | PWR-DRYAMB | WEST 4LP | SBEC | GPC | 1974-06-28 | 1989-03-31 | 1989-05-20 | 06/03/2009 | 2049-02-09 |  | 3625.6 | 1152 | 33 | 60 | 26.1288 | 43.55% | 1989 |  |  | 92% | 92% | 100% | 96% | 94% | 100% | 92% | 87% | 102% | 94% | 93% | 101% | 88% | 85% | 91% | 97%
2022 | Waterford Steam Electric Station, Unit 3 | Waterford 3 | 05000382 | NPF-38 | Killona, LA (25 MI W of New Orleans, LA) | 4 | Entergy Nuclear Operations, Inc. | Entergy Operations, Inc. | www.entergy-nuclear.com |  | PWR-DRYAMB | COMB CE | EBSO | EBSO | 1974-11-14 | 1985-03-16 | 1985-09-24 | 12/27/2018 | 2044-12-18 |  | 3716 | 1165 | 37 | 60 | 21.9808 | 36.63% | 1985 |  |  | 88% | 74% | 100% | 80% | 96% | 80% | 90% | 89% | 77% | 82% | 100% | 87% | 89% | 78% | 101% | 89%
2022 | Watts Bar Nuclear Plant, Unit 1 | Watts Bar 1 | 05000390 | NPF-90 | Spring City, TN (60 MI SW of Knoxville, TN) | 2 | Tennessee Valley Authority | Tennessee Valley Authority | www.tva.gov |  | PWR-ICECND | WEST 4LP | TVA | TVA | 1973-01-23 | 1996-02-07 | 1996-05-27 | N/A | 2035-11-09 |  | 3459 | 1123 | 26 | 40 | 12.8658 | 32.16% | 1996 |  |  | 92% | 86% | 87% | 77% | 85% | 76% | 89% | 90% | 87% | 84% | 99% | 94% | 82% | 90% | 100% | 87%
2022 | Watts Bar Nuclear Plant, Unit 2 | Watts Bar 2 | 05000391 | NPF-96 | Spring City, TN (60 MI SW of Knoxville, TN) | 2 | Tennessee Valley Authority | Tennessee Valley Authority | www.tva.gov |  | PWR-ICECND | WEST 4LP | TVA | TVA | 1973-01-24 | 2015-10-22 | 2016-10-19 | N/A | 2055-10-22 |  | 3411 | 1122 | 7 | 40 | 32.8301 | 82.08% | 2015 |  |  | 86% | 88% | 95% | 45% | 26% | 0%
2022 | Wolf Creek Generating Station, Unit 1 | Wolf Creek 1 | 05000482 | NPF-42 | Burlington (Coffey County), KS (28 MI SE of Emporia, KS) | 4 | Wolf Creek Nuclear Operating Corporation | Wolf Creek Nuclear Operating Corp. | www.wcnoc.com | Strategic Teaming and Resource Sharing (STARS) group. They share resources for refueling outages and develop some shared licensing applications. | PWR-DRYAMB | WEST 4LP | BECH | DANI | 1977-05-17 | 1985-06-04 | 1985-09-03 | 11/20/2008 | 2045-03-11 |  | 3565 | 1225 | 37 | 60 | 22.2082 | 37.01% | 1985 |  |  | 98% | 87% | 86% | 96% | 74% | 78% | 83% | 65% | 80% | 72% | 86% | 86% | 83% | 86% | 99% | 87%
2022 | Vogtle Electric Generating Plant, Unit 3 | Vogtle 3 | 05200025 | NPF-91 | Waynesboro, GA (26 MI SE of Augusta, GA) | 2 | Southern Nuclear Operating Company | Southern Nuclear Operating Co. | www.southerncompany.com |  | PWR - Freestanding steel vessel with shield building | WEST 2LP | Westinghouse | SNC |  | 2022-08-03 |  |  | 2062-08-03 |  | 3400 | 1117 | 0 | 40 | 39.6164 | 99.04% | 2022