APPENDIX B

LWR - OPERATIONAL PREPAREDNESS PHASE

This Appendix describes the inspection program to mainly verify that management controls  and  procedures,  including  quality  assurance programs, necessary for operation of the facility have been documented and implemented.

Inspec.

Proc.		      									Should Be

No.			Inspection Procedure Title      				Complete

Operations

36301			Operational Staffing Inspection	      			340-3

41301			Inspection of Operating Staff Training	      		340

42400			Plant Procedures Inspection	      				340-6

42450			Operating Procedures Inspection	      			340

42452			Emergency Procedures Inspection	      			340

71301			Technical Specifications Review	      			340-1

Maintenance

35742			QA Program - Document Control	      			340

35743			QA Program - Maintenance	      				340

35744			QA Program - Design Changes and

Modifications	      						340

42451			Maintenance Procedures Inspection	      			340

Refueling

60501			Fuel Receipt and Storage	      				340-1

Fire Protection

64704			Fire Protection Program 					340

Surveillance

35745			QA Program - Surveillance Testing	    			340

35749			QA Program - Tests and Experiments	 		340

35750			QA Program - Test and Measurement Equipment		340

Plant Water Chemistry Controls

79501			LWR Water Chemistry Control and Chemical		340-1

Analysis (Preoperational and Supplemental)

79502			Plant Systems Affecting Plant Water				340-1

Chemistry

Radiological Controls

80521		Radiological Environmental Protection			340-6

83522		Radiation Protection, Plant Chemistry,			340-6

Radwaste, and Environmental Organization

and Management Controls

83523		Radiation Protection, Plant Chemistry,			340-3

and Radwaste Training and Qualifications

83524		External Occupational Exposure Control and		340-3

Personal Dosimetry

83525		Internal Exposure Control					340-3

83526		Control of Radioactive Materials and				340-3

Contamination, Surveys, and Monitoring

83527		Facilities and Equipment					340-3

83528		Maintaining Occupational Exposures ALARA		340-1

84522		Solids - Control, Sampling, Monitoring,			340-1

and Release

Inspec.

Proc.		     	 							Should Be

No.			Inspection Procedure Title      			Complete

84523		Liquids - Control, Sampling, Monitoring	  		340-1

and Release

84524		Gases and Particulates - Control, Sampling,	  	340-1

Monitoring, and Release

84525		Quality Assurance and Confirmatory	  			340-1

Measurements for In-Plant Radiochemical

Analysis (Preoperational and Supplemental)

Security and Safeguards

81018		Security Plan and Implementing Procedures	  	340-2

81020		Management Effectiveness	 				340-1

81022		Security Organization	 					340-3

81034		Security Program Audit	 				340-3

81038		Records and Reports	  					340-3

81042		Testing and Maintenance	  				340-3

81046		Locks, Keys, and Combinations	  			340-3

81052		Physical Barriers - Protected Areas	  			340-3

81054		Physical Barriers - Vital Areas,	  			340-3

Material Access Areas, and Controlled

Access Areas

81058		Security System Power Supply	  			340-3

81062		Lighting	  						340-1

81064		Compensatory Measures	  				340-1

81066		Assessment Aids	  					340-1

81070		Access Control - Personnel	  				340-2

Inspec.

Proc.		      								Should Be

No.			Inspection Procedure Title      			Complete

81072		Access Control - (Power Reactors) - Packages 		340-2

81074		Access Control - Vehicles	    				340-2

81078		Detection Aids - Protected Areas	    			340-2

81080		Detection Aids - VA, MAA, and CAA	    			340-2

81084		Alarm Stations	    						340-2

81088		Communications	    					340-2

81400 Series	Requirements for Protecting Fresh Fuel

at Reactors	    					W

81501		Personnel Training and Qualification -

General Requirements	    				340-2

81601		Safeguards Contingency Plan - Implementation

Review							340-2

81810		Physical Protection Safeguards Information			340-3

85102		Material Control and Accounting - Reactor			340-1

Quality Assurance

35740		QA Program - QA/QC Administration				340

35741		QA Program - Audits						340

35746		QA Program - Procurement Control				340

35747		QA Program - Receipt Storage, and Handling		340

of Equipment and Materials

35748		QA Program - Records					340

40301	 	Safety Committee Activity 					340-3

Inspec.

Proc.		      								Should Be

No.			Inspection Procedure Title      			Complete

Other

30301		Second Corporate Management Meeting			340-12

30703		Management Meetings - Exit Meeting	  		W

90711		Nonroutine Event Review	  				W

91300		Title 10 Requirements						W

92701		Followup 							W

92702		Followup on Corrective Actions for Violations		W

and Deviations

92703		Followup of Confirmatory Action Letters 	  		W

94300		Inspection Preparatory to Operating				W

License Issuance

92719		Safety Evaluation Report Review and			340

Followup