NRC INSPECTION MANUAL	DIRS

Change Notice 08-025

DELETED:		TRANSMITTED:

Number		Date	Number	Date

- IMC 2515 App A		05/01/08	IMC 2515 App A	09/03/08

- IMC 2515 App D		03/21/08	IMC 2515 App D	09/03/08

- TRAINING:	None

REMARKS:		IMC 2515 App A (Risk-Informed Baseline Inspection Program) has been revised to add the requirement for region-based inspectors to review all open allegations pertaining to the areas to be inspected during inspection preparation as part of regulatory improvements in response to the Peach Bottom Lessons Learned Review Team’s analysis of inattentive security officers at the Peach Bottom Nuclear Power Plant in 2007.

IMC 2515 App D (Plant Status) has been revised to address lessons learned from severe corrosion of essential service water piping risers at the Byron Nuclear Power Station.  The revision also clarifies how to charge for inspection resources used to support facility status reviews for the Security and Safeguards Inspection Program (SSIP) and to make inspectors aware of Plant Status procedure for SSIP (IMC 2201 Appendix D).

DISTRIBUTION:  			Standard

- END