**NRC INSPECTION MANUAL** IRSB

|  |
| --- |
| INSPECTION MANUAL CHAPTER 1245 APPENDIX D3 |

FIRE PROTECTION ADVANCED-LEVEL TRAINNG

Effective Date: 06/26/2020

Contents

Introduction 1

Objectives of Advanced-Level Training 1

Required Training Courses: 1

Fire Protection Inspector On-the-Job Training (OJT) Activity 3

(OJT-FP-1) Fire Protection Inspection 4

Fire Protection Inspector Advanced-Level Signature Card 5

Form 1: Fire Protection Inspector Advanced-Level Equivalency Justification 6

Attachement 1: Revision History Sheet for IMC 1245, Appendix D3 Att1-1

# Introduction

Completion of Appendix C7, “Fire Protection Inspector Technical Proficiency Training and Qualification Journal,” to Inspection Manual Chapter (IMC) 1245, “Qualification Program for Reactor Inspectors,” is strongly recommended before beginning activities or courses in this advanced-level training. You may complete the general proficiency requirements contained in Appendix B, “General Proficiency-Level Training and Qualification Journal,” and the technical proficiency requirements in IMC 1245 Appendix C7 together with requirements in this training standard. The courses and the OJT activity listed in this standard are voluntary and are not required for certification as a U.S. Nuclear Regulatory Commission (NRC) fire protection inspector.

# Objectives of Advanced-Level Training

The objective of this training standard is to provide advanced-level training in fire protection and to assist inspectors in preparing to evaluate reactor facilities that have transitioned to National Fire Protection Association (NFPA) 805, "Performance-Based Standard for Fire Protection for Light Water Reactor Electric Generating Plants," 2001 Edition

# Required Training Courses

The first five courses listed below give instruction and training in the inspection of plants that have transitioned to NFPA 805. The remaining courses give additional training in classical fire protection.

1. NRC/Electric Power Research Institute (EPRI) training on NUREG/CR-6850, “EPRI/NRC-RES Fire PRA Methodology for Nuclear Power Facilities,” issued September 2005 (all five modules):
   * Module 1, Principles of Probabilistic Risk Assessment (PRA)
   * Module 2, Principles of Electrical Circuit Analysis
   * Module 3, Principles of Fire Hazards Analysis (FHA)
   * Module 4, Principles of Human Reliability Analysis (HRA)
   * Module 5, Advanced Fire Modeling
2. Fire Protection Inspector Training for NFPA 805, available in TMS.

The references, the handbook, slides, sample amendment and safety evaluation and other references are included in ADAMS Package Accession No. [ML17116A249](https://adamsxt.nrc.gov/AdamsXT/packagecontent/packageContent.faces?id=%7b492243C2-FB0D-45EA-BFB8-37625CA25DAA%7d&objectStoreName=MainLibrary&wId=1495561807459)

1. SAPHIRE Basics (P-201)
2. System Modeling Techniques for PRA (P-200)
3. Human Reliability Assessment (HRA) Course (P-203)
4. NFPA National Fire Alarm Code Seminar (NFPA 72, “National Fire Alarm and Signaling Code.”)
5. NFPA Installation of Sprinkler Systems Seminar (NFPA 13, “Standard for the Installation of Sprinkler Systems.”)
6. NFPA Fire Pumps Seminar (NFPA 20, “Standard for the Installation of Stationary Pumps for Fire Protection.”)
7. The Automatic Sprinkler Systems Plans Review Two Day Training And Workshop Course available at the following url: <https://catalog.nfpa.org/Automatic-Sprinkler-Systems-Plans-Review-2-day-Training-and-Workshop-P16841.aspx>

or

The National Fire Sprinkler Association (NFSA) One Day Training Seminar, “[Hydraulics for Fire Protection](https://nfsa.org/wp-content/uploads/2018/03/SeminarInfoSheets-2018-HYD-Seminar-Information-Sheet-Feb-2018.pdf" \t "_blank),”available at the following url: <https://nfsa.org/training-catalog/>

10. NFPA Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems Seminar (NFPA 25, “Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems.”)

The schedule of classes for the NFPA training can be found at <https://www.nfpa.org/Training-and-Events>.

Other online fire protection courses are available from the following sources:

* University of Maryland

<https://fpe.umd.edu/>

* Oklahoma State University

<https://ceatpd.okstate.edu/>

* Worcester Polytechnic Institute

<http://cpe.wpi.edu/Individual/Distance/fire.html>

# Fire Protection Inspector On-the-Job Training (OJT) Activity

Fire Protection Inspector On-the-Job Training Activity

**TOPIC:** (OJT-FP-1) Fire Protection Inspection

**PURPOSE:** The purpose of this activity is to acquaint you with the fire protection inspection process by having you participate in an inspection of an operating reactor facility that has transitioned to NFPA 805, “Performance Based Standard for Fire Protection for Light Water Reactor Electric Generating Plants”

**COMPETENCY**

**AREAS:** TECHNICAL AREA EXPERTISE

**LEVEL OF EFFORT:** 40 hours

**EVALUATION**

**CRITERIA:** At the completion of this activity, you should understand the regional fire protection inspection process for a plant that has transitioned to NFPA 805.

1. Explain the objectives of the fire protection team inspection (FPTI) for a plant that has transitioned to NFPA 805.
2. Explain the difference between the fire protection team inspection for a plant that has transitioned to NFPA 805 and one that has not transitioned.
3. Explain the regulatory requirements and licensing basis against which post-fire safe-shutdown capability is assessed.

**TASKS:** The activities listed below shall be performed under the guidance of a subject matter expert.

1. Accompany a team of regional inspectors during a fire protection inspection at a plant that has transitioned to NFPA 805.
2. Discuss the evaluation criteria with a subject matter expert.
3. Before the inspection, review any documents the team leader deems necessary.
4. Participate with the inspection team leader and the regional senior risk analyst (SRA) in the selection process of the inspection samples (determine which SSCs, programs, and fire areas or zones are to be inspected in this inspection).
5. Review NFPA 805, 2001 Edition.
6. Complete any other task given by the inspection team leader.

**DOCUMENTATION:** Fire Protection Inspector Advanced-Level Signature Card OJT-FP-1.

# Fire Protection Inspector Advanced-Level Signature Card

|  |  |  |
| --- | --- | --- |
| Inspector  Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | Employee Initials/ Date | Supervisor’s Signature/  Date |
| Training Courses for Fire Protection Inspector | | |
| NRC/EPRI NUREG/CR-6850 Training (all five modules):  Module 1 Principles of Probabilistic Risk Assessment (PRA)  Module 2 Principles of Electrical Circuit Analysis  Module 3 Principles of Fire Hazard Analysis (FHA)  Module 4 Principles of Human Reliability Analysis (HRA)  Module 5 Advanced Fire Modeling | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| SAPHIRE Basics (P-201) |  |  |
| Fire Protection Inspector Training for NFPA 805 |  |  |
| System Modeling Techniques for PRA (P-200) |  |  |
| Human Reliability Assessment (HRA) Course (P-203) |  |  |
| National Fire Protection Association National Fire Alarm Code Seminar (NFPA 72) |  |  |
| National Fire Protection Association Installation of Sprinkler Systems Seminar (NFPA 13) |  |  |
| National Fire Protection Association Fire Pumps Seminar (NFPA 20) |  |  |
| The Automatic Sprinkler Systems Plans Review Two Day Training and Workshop Course or The National Fire Sprinkler Association (NFSA) One Day Training Seminar |  |  |
| NFPA Inspection, Testing and Maintenance of Water Based Fire Protection Systems (NFPA 25) |  |  |
| On-the-Job Training Activity | | |
| OJT-FP-1 Participate in a regional fire protection team inspection of a plant that has transitioned to NFPA 805 |  |  |

This signature card must be accompanied by the appropriate Form 1, Advanced-Level Equivalency Justification, if applicable.

Supervisor’s signature indicates successful completion of all required courses and activities listed in this training standard.

Supervisor’s Signature/Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Copies to: Inspector

Human Resources Office

Supervisor

# Form 1: Fire Protection Inspector Advanced-Level Equivalency Justification

|  |  |
| --- | --- |
| Inspector  Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | Identify equivalent training and experience for which the inspector is to be given credit |
| Training Courses for Fire Protection Inspector | |
| NRC/EPRI NUREG/CR-6850 Training (all five modules):  Module 1 Principles of Probabilistic Risk Assessment (PRA)  Module 2 Principles of Electrical Circuit Analysis  Module 3 Principles of Fire Hazards Analysis (FHA)  Module 4 Principles of Human Reliability Analysis (HRA)  Module 5 Advanced Fire Modeling | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| SAPHIRE Basics (P-201) |  |
| System Modeling Techniques for PRA (P-200) |  |
| Fire Protection Inspector Training for NFPA 805 |  |
| Human Reliability Assessment (HRA) Course (P-203) |  |
| National Fire Protection Association National Fire Alarm Code Seminar (NFPA 72) |  |
| National Fire Protection Association Installation of Sprinkler Systems Seminar (NFPA 13) |  |
| National Fire Protection Association Fire Pumps Seminar (NFPA 20) |  |
| The Automatic Sprinkler Systems Plans Review Two Day Training and Workshop Course or The National Fire Sprinkler Association (NFSA) One Day Training Seminar |  |
| NFPA Inspection, Testing and Maintenance of Water Based Fire Protection Systems (NFPA 25) |  |
| On-the-Job Training Activity | |
| OJT-FP-1 Participate in a regional fire protection team inspection of a plant that has transitioned to NFPA 805 |  |

Supervisor’s Recommendation Signature/Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Division Director’s Approval Signature/Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Copies to: Inspector

Human Resources Office

Supervisor

# Revision History Sheet for IMC 1245, Appendix D3

Attachment 1

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Commitment Tracking Number | Accession Number  Issue Date  Change Notice | Description of Change | Description of Training Required and Completion Date | Comment Resolution and Closed Feedback Form Accession Number (Pre-Decisional, Non-Public Information) |
| N/A | ML090360535  07/08/09  CN-09-017 | Initial issuance. Completed 4-year historical CN review. | None | ML091590710 |
| N/A | ML11166A136  12/29/11  CN-11-044 | This revision updates required training. | None | ML11340A128 |
| N/A | ML12251A071  12/19/12/12  CN 12-029 | This revision updates required training by deleting NFPA e-learning series, “Fire Stopping Series” which is no longer offered. | None | Closed FF:  1245D3-1809 |
| N/A | ML20077L278  06/26/20  CN 20-026 | This revision removed the NFPA Sprinkler Hydraulics Seminar training requirement which was no longer offered and provided new training choices that were recommended by the NRR technical program office. Also, this revision updated links that were not functional. | None | ML20079E420 |