APPENDIX A

LWR - PREOPERATIONAL TESTING PHASE

This Appendix describes the inspection program to verify systems and components important to safety of the plant are fully tested to demonstrate that they satisfy their design requirements.

Insp.

Proc.									Reactor	Should Be

No.	    	Inspection Procedure Title				Type*		Complete

General

35301		Quality Assurance for Preoperational		P/B		340-3

Testing

37301 	Comparison of As-Built Plant to FSAR		P/B		340-1

Description

70300		Preoperational Test Procedure Test		P/B		**

Review

70301		Overall Preoperational Test Program		P/B		305

Review Requirements

70302		Preoperational Test Program Implemen-		P/B		340-3

tation

70311		Preoperational Testing Procedure		P/B		340-3

Verification

70312 	Preoperational Test Witnessing			P/B		**

70329		Preoperational Test Result Evaluation		P/B		340

Verification

70370		Testing of Pipe Supports and Restraint		P/B		340

Systems

70400		Preoperational Test Results Evaluation		P/B		**

*P = Pressurized Water Reactor; B = Boiling Water Reactor

**Generic Procedure referenced by other inspection procedures within IE

MC 2513

Insp.

Proc.									Reactor	Should Be

No.	   	 Inspection Procedure Title				Type*		Complete

71302		Preoperational Test Program Implemen-		P/B	 	WK/M/Q

tation Verification

Mandatory Test Procedure Review

70304		Engineered Safety Features Test			P/B	 	340-3

70305		Reactor Protection System Test			P/B	 	340-3

70306		Loss of Offsite Power Test				P/B	 	340-3

70307		Containment System: Integrated Leak		P/B	 	340-3

Rate Test

70308		Integrated Hot Functional Test			P	 	340-3

70362		Reactor Coolant System Hydrostatic		P/B	 	320

Test

Primal Test Procedure Review

(Select 5 of the following)

70331		Vibration Test					P/B	 	340-3

70332		Control Rod System Test				P/B	 	340-3

70333		Chemical Control System Test			P	 	340-3

70334		Engineered Safety Features Activation		P/B	 	340-3

System Test

70335		Safety and Relief Valve Test			P/B	 	340-3

70336		Residual-Decay Heat Removal System Test	P/B	 	340-3

70337		Main Steam Isolation Valve Test			P/B	 	320

70338		Auxiliary Feedwater System Test			P	 	320

70339		Component Cooling Water System Test		P	 	320

*   P = Pressurized Water Reactor; B = Boiling Water Reactor

Insp.

Proc.									Reactor	Should Be

No.	   	 Inspection Procedure Title				Type*		Complete

70340		DC Power System Test				P/B	   	   340-3

70341		Emergency-Standby Power Supply System	P/B	    	  340-3

Test

70342		Containment System: Combustible Gas		P/B	    	  340-3

Control System Test

70343		Containment Spray System Test			P	    	  340 3

70344		Containment Isolation Valve Test			P/B	    	  330

70345		Containment Heating, Cooling,			P/B		340-3

Ventilation System Test

7O346	Auxiliary Building Heating, Cooling,		P		340-3

Ventilation System Test

70347		Pressurizer and Level Control System		P		320

Test

70348		Main Feedwater Control System Test		P/B		340-3

70349		Reactor Coolant Leak Detection System		P		340-3

Test

70350		Loose Parts Monitoring System Test		P/B		340-3

70351		Integrated Reactor Control System Test		P		340-3

70352		Remote Reactor Shutdown Test			P/B		340-3

70353		Cranes, Hoists, and Lifting Equipment		P/B		340-3

Test

70354		Nuclear Instrumentation System Test		P		340-3

70355		Compressed Gas System Test			P/B		340-3

70356		Standby Liquid Control System Test		B		340-3

70357		Reactor Core Isolation Cooling System		B		340-3

Test

* P = Pressurized Water Reactor; B = Boiling Water Reactor

Insp.

Proc.									Reactor	Should Be

No.	   	 Inspection Procedure Title				Type*		Complete

70358		Reactor Building Heating Cooling			B	 	340-3

Ventilation System Test

70359		Recirculation System Flow Control Test		B	 	340-3

70360		Manual Reactor Control System Test		B	 	340-3

70361		Traversing Incore Probe System Test		B	 	340-3

Mandatory Test Witnessing

70313		Containment System: Integrated Leak		P/B	 	340-1

Rate Test

70314		Integrated Hot Functional Test			P	 	340-1

70315		Engineered Safety Features Test			P/B	 	340-1

70316		Loss of Offsite Power Test				P/B	 	340-1

70317		Reactor Protection System Test			P/B	 	340-1

70462		Reactor Coolant System Hydrostatic		P/B	 	320

Test

Primal Test Witnessing

(select 5 of the following)

70431		Vibration Test					P/B	 	340-1

70432		Control Rod System Test				P/B	 	340-1

70433		Chemical Control System Test			P	 	340-1

70434		Engineered Safety Features Activation		P/B	 	340-1

System Test

70435		Safety and Relief Valve Test			P/B	 	340-1

70436		Residual-Decay Heat Removal System		P/B	 	340-1

Test

* P = Pressurized Water Reactor; B = Boiling Water Reactor

Insp.

Proc.									Reactor	Should Be

No.	   	 Inspection Procedure Title				Type*		Complete

70437		Main Steam Isolation Valve Test			P/B	     	 320

70438		Auxiliary Feedwater System Test			P	      	320

70439		Component Cooling Water System Test		P	      	320

70440		DC Power System Test				P/B	      	340-1

70441		Emergency-Standby Power Supply System	P/B	    	  340-1

Test

70442		Containment System: Combustible Gas		P/B	   	   340-1

Control System Test

70443		Containment Spray System Test			P	 	     340-1

70444		Containment Isolation Valve Test			P/B	    	  330

70445		Containment Heating, Cooling, Venti-		P/B	 	     340-1

lation System Test

70446		Auxiliary Building Heating, Cooling,		P	    	  340-1

Ventilation System Test

70447		Pressurizer and Level Control System		P	    	  320

Test

70448		Main Feedwater Control System Test		P/B	    	  340-1

70449		Reactor Coolant Leak Detection System		P	   	   340-1

Test

70450 	Loose Parts Monitoring System Test		P/B		340-1

70451 	Integrated Reactor Control System Test		P		340-1

70452 	Remote Reactor Shutdown Test			P/B		340-1

70453 	Cranes, Hoists, and Lifting Equipment		P/B		340-1

Test

* P = Pressurized Water Reactor; B = Boiling Water Reactor

Insp.

Proc.									Reactor	Should Be

No.	    	Inspection Procedure Title				Type*		Complete

70454		Nuclear Instrumentation System Test		P	 	340-1

70455		Compressed Gas System Test			P/B	 	340-1

70456		Standby Liquid Control System Test		B	 	340-1

70437		Main Steam Isolation Valve Test			P/B	 	320

70438		Auxiliary Feedwater System Test			P	 	320

70457		Reactor Core Isolation Cooling System		B	 	340-1

Test

70458		Reactor Building Heating, Cooling,		B	 	340-1

Ventilation System Test

70459 	Recirculation System Flow Control Test		B	 	340-1

70460		Manual Reactor Control System Test		B	 	340-1

70461		Traversing Incore Probe System Test		B	 	340-1

Mandatory Test Result Evaluation

70322		Engineered Safety Features Test			P/B	 	340-1

70323		Containment System: Integrated Leak		P/B	 	340-1

Rate Test

70324		Integrated Hot Functional Test			P	 	340

70325		Reactor Protection System Test			P/B	 	340-1

70326		Loss of Offsite Power Test				P/B	 	340

70562		Reactor Coolant System Hydrostatic		P/B	 	340-1

Test

* P = Pressurized Water Reactor; B = Boiling Water Reactor