NRC INSPECTION MANUAL	DIRS

Change Notice 09-016

DELETED:		TRANSMITTED:

Number		Date	Number	Date

- IP 71111.06	08/19/08	IP 71111.06		06/25/09

- TRAINING:	None

REMARKS:	IP 71111.16 (Flood Protection Measures) has been revised to address a Reactor Oversight Process (ROP) feedback form.  A revision has also been made to the inspection requirements associated with underground cables.  This inspection has been changed from an optional sample to a mandatory sample as a result of information gathered from Generic Letter (GL) 2007-01, “Inaccessible or Underground Power Cable Failures That Disable Accident Mitigation Systems or Cause Plant Transients.”

DISTRIBUTION: Standard

- END